## Table 1
Appendix D - Schedule of Prices
RFP 2025 092
North Bay Car Shop Heating and Ventilation Upgrades
Submission by
(Full Legal Name of Company or Individual)
H.S.T. Number
(H.S.T Number of Company or Individual)
DIVISION | ELEMENT | TOTAL
1 | General Conditions
1 | Interference and coordination Drawings (3D)
2 | Existing Conditions
3 | Concrete
4 | Masonry
5 | Metals
6 | Wood, Plastics and Composites
7 | Thermal and Moisture Protection
8 | Openings
9 | Finishes
10 | Specialities
11 | Equipment
21 | Fire Suppression
22 | Plumbing
23 | Heating, Ventilation, and Air Conditioning
25 | Integrated Automation
26 | Electrical
27 | Communications
28 | Electronic Safety and Security
31 | Earthwork
32 | Exterior Improvements
33 | Utilities
34 | Cash Allowances | 525000
Men's Washroom RM 206 | Ceiling Retrofit and LED upgrade | 40000
Women's Washroom RM 203 | Interior upgrade | 60000
Kitchenette and Washroom RM 201 and RM 202 | Interior upgrade | 100000
Track 4 | Make Up Air Unit | 240000
Various location | Fire Separation | 50000
Lunchroom RM208 | Windows | 35000
Subtotal |  | 525000
General Contingency (10%) |  | 52500
Car Shop HVAC Upgrade Subtotal |  | 577500
35 | Battery Storage and Maintenance Building | 100000
Code Compliance and Design
Building structure, panels, and insulation
Fresh water line, plumbing, emergency shower station
In floor spill containment
Battery Wash Station
Jib Crane
Roll up door and man door
Concrete apron at roll up doors
Fire protection if required by code
Charging Station with hood
Excavation and site grading
Concrete slab
Heating
Electrical and lighting
Racking
Other Costs
Cash Allowance | Foundation Work | 80000
Cash Allowance | Fibre and network hardware and connections | 20000
Project Total (Excluding HST) |  | 677500
Optional Price | Add | Remove
Scope of Work Section 1.7.2 Provide Epoxy flooring finish instead of vinyl (RM 108A, 117, 108B, 111A, 111B, 112A, 112B, 113A, 150, 151, 152)