## Schedule of Prices
Appendix D - Schedule of Prices
RFP 2026 031 - Cochrane Station Parking Lot Paving Project
Submission by
(Full Legal Nme of Company or Individual
H.S.T. Number
(H.S.T Number of Company or Individual
Summary
Hearst Total Contract Price
13% Harmonized Sales Tax |  |  | 0
Item No. | Spec. No. | Item | Tender Qty | Unit | Unit Price | Amount
1 |  | Contract Bonds | 100% | L.S
2 |  | Mobilization | 100% | L.S
3 |  | Demobilization | 100% | L.S
4 |  | Insurance | 100% | L.S.
5 |  | Site Supervisor | 100% | L.S.
6 |  | Project Manager | 100% | L.S.
7 |  | General Conditions | 100% | L.S.
8 |  | Permits |  | L.S.
9 | 180 Muni | Testing of Excess Materials | 100% | L.S.
10 | 206 Muni | Earth Excavation, Grading | 6600 | m3
11 | 310 Muni SP | Superpave 12.5 Surface (40mm) | 758 | m.t
12 | 310 Muni SP | Superpave 19.0 Binder (50mm) | 955 | m.t
13 | 308 Muni | Tack Coat | 6683 | m²
14 | 314 Muni SP / 1010 Muni SP | Granular 'A' | 5150 | m.t
15 | 314 Muni SP / 1010 Muni SP | Granular 'B' Type I | 12019 | m.t
16 | 351 Muni SP | Concrete Sidewalk | 149 | m²
17 | 353 Muni SP | Concrete Curb and Gutter | 436 | m
18 | 355 Muni | Interlocking Concrete Pavers | 335 | m²
19 | 405 Muni SP | Pipe Subdrains | 755 | m
20 | 407 Muni | 600mm x 600mm Catch Basins | 2 | ea.
21 | 407 Muni | 1200mm Dia. Storm Maintenance Holes and Catch Basin Maintenance Holes | 5 | ea.
22 | 407 Muni | Breaking into MH, CB, DI, and VC | 1 | ea.
23 | 410 Muni | 300mm Dia. Pipe Storm Sewer | 37 | m
24 | 410 Muni | 450mm Dia. Pipe Storm Sewer | 145 | m
25 | 410 Muni | 600mm Dia. Pipe Storm Sewer | 212 | m
26 | 510 Muni | Removal of MHs, CBs, DIs and VCs | 6 | ea.
27 | 510 Muni | Removal of Pipe Culverts and Sewers | 152 | m
28 | 510 Muni | Removal of Asphalt Pavement, Full Depth | 6284 | m²
29 | 510 Muni | Removal of Concrete Sidewalk | 87 | m²
30 | 510 Muni | Removal of Concrete Curb | 572 | m
31 | 510 Muni | Remove Concrete Interlocking Pavers | 553 | m²
32 | 510 Muni | Remove and Relocate Larger Sign | 2 | ea.
33 | 510 Muni | Remove and Relocate Small Sign | 3 | ea.
34 | 510 Muni | Abandon in place and cap existing STM | 2 | ea.
35 | SP | Remove and Reinstate steel posts/Junction Boxes | 15 | ea.
36 | 511 Muni | Geotextile | 6926 | m²
37 | 511 Muni | Geogrid | 6926 | m²
38 | 703 Muni | Parking Signs | 7 | ea.
39 | 706 Muni | Temporary Traffic Control Devices | 100% | L.S.
40 | 710 Muni | Pavement Marking | 755 | m
41 | 710 Muni | Pavement Markings Symbols | 7 | ea.
42 | 802 Muni SP | Topsoil, Imported | 122 | m³
43 | 804 Muni SP | Seed and Cover | 1222 | m²
44 |  | 8ft Concrete jersey Barriers | 25 | ea.
45 |  | Removal of Parking Lot Lighting and bases | 15 | ea.
46
47 |  | Electrical work for Parking Lot Lighting | 100% | L.S.
48 |  | NEW Conduit for Electrical Lighting | 1366 | m
49 |  | NEW Conduit for Communication and Data Runs (including pull strings) | 500 | m
50 |  | Testing | 100% | L.S.
51 |  | Commissioning | 100% | L.S.
52 |  | Demonstration and Training | 100% | L.S.
53 |  | Close Out Documents | 100% | L.S.
54 | OPSS 602 | Electrical and Communication Handholes | 8 | ea.
55 | OPSS 603 | Supply and install rigid ducts (thick wall rigid PVC only) in pavement 1 x 50 mm (open cut) | 600 | m
56 | OPSS 604 | Low Voltage Cables in Rigid Duct - 6 #8 RWU90 | 885 | m
57 | OPSS 604 | Low Voltage Cables in Rigid Duct - 4 #8 RWU90 | 1140 | m
58 | OPSS 604 | Low Voltage Cables in Rigid Duct - 2 #8 RWU90 | 90 | m
59 | OPSS 604 | LED Roadway Lighting Luminaires - 2 #12 AWG (Riser Wire) | 180 | m
60 | OPSS 609 | Grounding - Supply and install Ground Rods / plates | 3 | ea.
61 | OPSS 609 | Grounding - Supply and install Insulated #6 RWU 90 | 475 | m
62 | OPSS 609 | Grounding - Supply and install Bare #6 RWU 90 | 3 | m
63 | OPSS 610 | Removal of Electrical Equipment | 100% | L.S.
64 | OPSS 614 | Power Supply Equipment | 1 | ea.
65 | OPSS 615 | Supply and install Base Mounted 9.0m Steel Pole | 12 | ea.
66 | OPSS 616 | Supply and install concrete footings in earth 760 mm dia | 12 | ea.
67 | OPSS 617 | Supply and install LED Site Lighting Luminaires c/w quick mount bracket standard arm | 15 | ea.
Additional Platform curbs and interlock work (Addendum 2)
68 | 355 Muni | Interlocking Concrete Pavers | 280 | m²
69 | 510 Muni | Remove Concrete Interlocking Pavers | 280 | m²
70 | 510 Muni | Removal of Concrete Curb | 125 | m
71 | 314 Muni SP / 1010 Muni SP | Granular 'A' | 100 | m.t
| 353 Muni SP | Concrete Curb | 436 | m
Additional Street Access ramp work (Addendum 2) (Construction Drawings to follow)
72 |  | Earth Excavation, Grading | 30 | m3
73 | 310 Muni SP | Superpave 12.5 Surface (40mm) | 4 | m.t.
75 | 314 Muni SP / 1010 Muni SP | Granular 'A' | 11 | m.t.
76 | 353 Muni SP | Granular 'B' | 46 | m.t.
77 | 511 Muni | Geotextile | 27 | m²
78 | 511 Muni | Geogrid | 27 | m²
79 |  | Topsoil | 2 | m3
80 |  | Seed and cover | 17 | m²
81 |  | Handrail (Sch 40 Pipe, painted safety yellow, anchored to 4 NEW cocnrete bases) | 30 | m
82 |  | Concrete footings for handrail (5) | 1 | m3
83 |  | Removal of Ashphalt | 22 | m²
84 |  | Removal of old handail | 15 | m
SUB-TOTAL:
TOTAL EXCLUDING HST:
General Notes: 1) ONTC and Consultant do not guarantee accuracy of quantities. They are provided as guidelines only. 2) ’SP’ Denotes Special Provisions - Tender Items 3) ‘SPEC NO’ Refers to the Ontario Provincial Standard Specifications (OPSS) 4) The price set out above shall include any specified allowance and all taxes (excluding HST) except as may be otherwise provided in the RFP Documents, and to furnish all materials, labour, equipment and transportation to perform the entire Work described in the RFP Document, in the manner prescribed therein, and in accordance with the specifications. Please attach any cost breakdowns as a Separate Sheet to the Main Pricing Sheet.

## Labour and Equipment Rates
Labour and Equipment Rates
Herewith is the list of Labour and Equipment Rates: To be determined in accordance with the General Conditions.
Additional Labour Requirements (Hourly Rates) |  |  |  |  | Sub Contractor List
Foreman |  |  |  |  | Item No. Covered by Sub-Contractor in Part or Whole: | Subcontractor’s Name or “Own forces”
Tradesman: | Instrumentation tech
Skilled Labour
Labourer
Flag Person
Heavy Equipment Operators
Additional Equipment Requirements: (list all equipment available to project with hourly and daily rates)
Description | Size | Price/HR | Price/Day
Equipment List Herewith is the list of equipment that will be used on the project during the course of the work. List ALL equipment that will be used and fill all information.
|  |  |  | Year | Equipment | Size | Model | Make | Condition
|  |  |  | Sample: 2001 | Backhoe | 1 cu Yd | 330 | John Deere | Overhauled 2006

## Domestic Supply Chain
Domestic Supply Chain Plan
Proponents are requested to refer to Appendix D – Schedule of Prices within the RFP for detailed instructions on completing the table below. A completed example is provided below and has also been included within the RFP for reference. Proponents must follow the example provided and complete the table below accordingly. Please complete only the table corresponding to the package(s) for which you are submitting a proposal. Completion of this table is mandatory. Failure to complete the applicable table may result in disqualification.
Important: This table is for reporting the direct value of major goods and services only. The values entered must exclude overhead, profit, general conditions, insurance, bonds, contingency, and other indirect costs and are not expected to equal the Total Project Cost.
Example of Domestic Supply Chain Table
Item Description | Origin | Dollar Value (CAD)
(Ontario, Canada, elsewhere)
Example: Concrete | Ontario | 50000
Example: Steel | Canada | 30000
Example: Fixtures | Other | 10000
| Item Description | Origin | Dollar Value (CAD)
(Ontario, Canada, elsewhere)
Goods
Concrete
Lighting poles
Lighting fixtures
Electrical Components
Conduits
Catch Basins
Storm Sewer Pipe
Geotextile
Geogrid
Jersey Barriers
Signage
Services
Survey Services
Geotechnical Services
Locate Services
| Total of Ontario Dollar Value | $
| Total of Canada Dollar Value | $
| Total of Elsewhere Dollar Value | $

## Pricing for Change Orders
PRICING FOR CHANGE ORDERS / CHANGE DIRECTIVES:
Please quote overhead and profit percentage based on the following project cost ranges:
Project Costs | Overhead % | Profit %
$0 up to $9,999
$10,000 up to $49,999
$50,000 up to $99,999
$100,000 up to 149,999
$150,000 up to $200,000
$200,000 and higher
Please note that these project cost ranges apply to the aggregate price of all change orders and not on a per change order basis. Any OH&P applied shall be calculated against the subtotal of the applicable change order only. ONTC reserves the right to not accept the percentage values provided in the table above and any future change order markups will be reviewed and agreed upon by ONTC and contractor.
Please provide the hourly rate of pay for the following (add an additional page for any Positions not listed below):
Position | Hourly Rate
Project Manager
Estimator
Scheduler
Civil Engineering
Site Supervisor
Electrician
Masonry/Concrete Labour
Concrete Truck Operator
General Labour
Locates
Compaction Testing
Stom Line Scoping

## Schedule of Progress Payments
Schedule of Progress Payments
Please provide your schedule of progress payments below identifying all payment milestones, associated deliverables, and corresponding payment amounts or percentages.